**PPE Dedicated Supply Channel**

**Important Customer Alert**

**Non-sterile gowns Flosteril FLO-MED-8130**

**ICA:005**

**Date: 11 August 2020**

**Alert**

Flosteril FLO-MED-8130 non-sterile gowns do not meet minimum standards for fluid resistance.

**Products affected**

There is one product affected. Flosteril FLO-MED-8130 Non-Sterile gowns supplied by Vannin Healthcare (VHC) Global. Packaging for this product may vary. Images of the known variations of the packaging are in Annex 1 to help identification.

Affected Product Stock Keeping Units (SKU):

BWK9877   
BWK9845  
BWK9846  
BWK9847  
BWK9823  
BWK9796  
BWK9741

Supplier: Vannin Healthcare (VHC) Global Flosteril

MPC: FLOMED-8130

**Action**

**Provided from central stocks:**

* Check your stock immediately for unused Flosteril FLO-MED-8130 gowns from the SKUs listed above
* Stop using immediately and quarantine any unused gowns.
* Prepare quarantined gowns for collection. Further instruction will be issued in the next two weeks for their collection with a target date of collection to be started week commencing 31 August 2020.
* Do not dispose of the gowns.
* Share this ICA with anyone you supplied these gowns to.

**Privately sourced:**

* Check your stock immediately as above. Quarantined stock shall be managed locally and should be returned to your supplier

Contact NSDR on **0800 915 9964** for any emergency replacements required

For all general enquiries for the PPE Dedicated Channel, call Customer Services on 0800 876 6802.

**Annex 1 Packaging Images. Packaging may vary.**





